## Small towns Assets
serial no.+A3A3:I5 | Name of System | System management |  |  | System Location | Water source | Key components | Description |  |  |  | Serial number | year Purchase/ Construction | Purchase Cost | Supplier | Prioritization/Importance | Location | GPS location |  | Service reponsibility | Other ownership | previous assessment year | current assessment year | Current age | Current Condition |  |  | functionality status | Design Life | Remaining | Usage status | Present value | current market value | previous rehabilitation year | next rehabilitation year | Photo
sn |  | Mgt option (Public or PPP) | Name of Contact person | Contact: mobile | (site/place/community/area) | (1=groundwater, 2=surface water) |  |  | Product | Type | Size | asset identified/unique ID |  |  |  | (0=not mandatory, 1=mandatory) | place | latitude | longitude | Who? |  |  |  | years | Description | Rating (0=poor, 1=good) | Critical (yes/no) | (0=nonfunctional, 1=functional) | Design life in years | RemainingLife in years | (1=in use, not used) |  |  |  |  | (if necessary)
Small Town 1 | Kenyasi No1 & 2 system | Public | Rev.Joseph Adjei | 024-2714279 | k1&k2 | 1 | Pumping station1 | Well/BH1 | raw water | ground water | 97L/sec | WS/ANDA/W1 | 2002 | 4800 | Diwidy Comp. | 1 | Obengkrom road | 6.99 | -2.38 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 30 | 15 | 1 | 4550 | 9100 | xxxx | 2032
[8 empty] | Pump 1 | Water | Submisible pump | 8.7Mᶾ/hr | WS/ANDA/SP1 | 2002 | 2500 | Diwidy Comp. | 1 | Obengkrom road | 6.99 | -2.38 | WSMT | DA | 2014 | 2017 |  |  | 1 | Yes | 1 | 15 | 0 | 1 | 0 | 8680 | xxxx | 2017
[8 empty] | Control Panel 1 | Power | power ( 220-230 volts) | 3-phase | WS/ANDA/CP1 | 2002 | 750 | Diwidy Comp. |  | Obengkrom road | 6.99 | -2.38 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 5 | -10 | 1 | -4760 | 2380 | xxxx | 2007
[8 empty] | pump house 1 | room | block structure | 9.5M² | WS/ANDA/PH1 | 2002 | 6800 | Diwidy Comp. | 1 | Obengkrom road | 6.99 | -2.38 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 50 | 35 | 1 | 12214.72 | 17449.6 | xxxx | 2052
[6 empty] | 1 | Pumping station2 | Well/BH2A | raw water | ground water | 65L/ sec | WS/ANDA/W2A | 2002 | 4800 | Diwidy Comp. | 1 | Ampedwee Behind Cocoa shelld | 6.973 | -2.378 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 30 | 15 | 1 | 4550 | 9100 | xxxx | 2032
[6 empty] | 1 | Pumping station2 | Well/BH2B | raw water | ground water | 65L/ sec | WS/ANDA/W2B | 2014 | 7500 | Bawa Comp. | 1 | Ampedwee Behind Cocoa shelld | 6.973 | -2.378 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 30 | 27 | 1 | 8190 | 9100 | xxxx | 2044
[8 empty] | Pump 2A | water | submersible | 8.7Mᶾ/hr | WS/ANDA/SP2A | 2002 | 2500 | Diwidy Comp. | 1 | Ampedwee Behind Cocoa shelld | 6.973 | -2.378 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 15 | 0 | 1 | 0 | 8680 | xxxx | 2017
[8 empty] | Pump 2B | water | submersible | 36Mᶾ/hr | WS/ANDA/SP 2B | 2014 | 13500 | Bawa Comp. | 1 | Ampedwee Behind Cocoa shelld | 6.973 | -2.378 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 15 | 12 | 1 | 14400 | 18000 | xxxx | 2029
[8 empty] | Control Panel 2 A | power | power ( 220-230 volts) | 3-phase | WS/ANDA/CP2A | 2002 | 750 | Diwidy Comp. | 1 | Ampedwee Behind Cocoa shelld | 6.973 | -2.378 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 5 | -10 | 1 | -4760 | 2380 | xxxx | 2007
[8 empty] | Control Panel 2B | power | power ( 220-230 volts) | 3-phase | WS/ANDA/CP2B | 2014 | 4500 | Bawa Comp. | 1 | Ampedwee Behind Cocoa shelld | 6.973 | -2.378 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 5 | 2 | 1 | 2200 | 5500 | xxxx | 2019
[8 empty] | pump house 2 | room | block structure | 9.5M² | WS/ANDA/PH2 | 2002 | 6800 | Diwidy Comp. | 1 | Ampedwee Behind Cocoa shelld | 6.973 | -2.378 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 50 | 35 | 1 | 12214.72 | 17449.6 | xxxx | 2052
[6 empty] | 1 | Pumping Station 3 | Well/BH3A | raw water | ground water | 65L/ sec | WS/ANDA/W3A | 2002 | 4800 | Diwidy Comp. | 1 | Jericho near slaugter house | 6.984 | -2.393 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 30 | 15 | 1 | 4550 | 9100 | xxxx | 2032
[8 empty] | Well/BH3B | raw water | ground water | 65L/ sec | WS/ANDA/W3B | 2014 | 7500 | Bawa Comp. | 1 | Jericho near slaugter house | 6.984 | -2.393 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 30 | 15 | 1 | 4550 | 9100 | xxxx | 2032
[8 empty] | Pump 3A | water | submersible | 8.7Mᶾ/hr | WS/ANDA/SP3A | 2002 | 2500 | Diwidy Comp. | 1 | Jericho near slaugter house | 6.984 | -2.393 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 15 | 0 | 1 | 0 | 8680 | xxxx | 2017
[8 empty] | Pump 3B | water | submersible | 36Mᶾ/hr | WS/ANDA/SP 3B | 2014 | 13500 | Bawa Comp. | 1 | Jericho near slaugter house | 6.984 | -2.393 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 15 | 12 | 1 | 14400 | 18000 | xxxx | 2029
[8 empty] | Control Panel 3 A | power | power ( 220-230 volts) | 3-phase | WS/ANDA/CP3A | 2002 | 750 | Diwidy Comp. | 1 | Jericho near slaugter house | 6.984 | -2.393 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 5 | -10 | 1 | -4760 | 2380 | xxxx | 2007
[8 empty] | Control Panel 3 B | power | power ( 220-230 volts) | 3-phase | WS/ANDA/CP3B | 2014 | 4500 | Bawa Comp. | 1 | Jericho near slaugter house | 6.984 | -2.393 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 5 | 2 | 1 | 2200 | 5500 | xxxx | 2019
[8 empty] | pump house 3 | room | block structure | 9.5M² | WS/ANDA/PH3 | 2002 | 6800 | Diwidy Comp. | 1 | Jericho near slaugter house | 6.984 | -2.393 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 50 | 35 | 1 | 12214.72 | 17449.6 | xxxx | 2052
house structure
[7 empty] | Storage Tank 1 | Overhead tank | water storage | Concrete | 120Mᶾ | WS/ANDA/STK1 | 2014 | 473793 | Bawa Comp. | 1 | Opposite K2 Methodist School | 6.975 | -2.379 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 50 | 47 | 1 | 456525.1 | 485665 | xxxx | 2064
[7 empty] | Storage Tank 2 | Ground tank | water storage | Steel | 90Mᶾ | WS/ANDA/STK2 | 2002 | 65937 | Diwidy Comp. | 1 | Opposite K2 Methodist School | 6.975 | -2.379 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 78275.2 | 195688 | xxxx | 2027
[7 empty] | Storage Tank 3 | Ground tank | water storage | Steel | 180Mᶾ | WS/ANDA/STK3 | 2002 | 75965 | Diwidy Comp. | 1 | Opposite K2 Methodist School | 6.975 | -2.379 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 98346 | 245865 | xxxx | 2027
[7 empty] | Standpipes | [27 empty] | 2017
[7 empty] | Standpipe 1 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P1 | 2002 | 1950 | Diwidy Comp. | 1 | Opposite Newmont old camp | 6.984 | -2.393 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 2 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P2 | 2002 | 1950 | Diwidy Comp. | 1 | Near SDA church | 6.981 | -2.391 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 3 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P3 | 2002 | 1950 | Diwidy Comp. | 1 | Near banana house Adum k2 | 6.981 | -2.389 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 4 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P4 | 2002 | 1950 | Diwidy Comp. | 1 | Behind Chief House AH | 6.975 | -2.379 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 5 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P5 | 2002 | 1950 | Diwidy Comp. | 1 | Near Japan driking spot Jerricho | 6.983 | -2.387 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 6 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P6 | 2002 | 1950 | Diwidy Comp. | 1 | Near Atanfo Nye boutque | 6.981 | -2.386 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 7 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P7 | 2002 | 1950 | Diwidy Comp. | 1 | Behind old Market K2 | 6.981 | -2.386 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 8 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P8 | 2002 | 1950 | Diwidy Comp. | 1 | Close to Yaro Gruma's house K2 zongo | 6.98 | -2.385 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 9 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P9 | 2002 | 1950 | Diwidy Comp. | 1 | K2 Zongo Near Central Mosque | 6.979 | -2.385 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 10 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P10 | 2002 | 1950 | Diwidy Comp. | 1 | K2 Kwaadaso near Tigo mask | 6.975 | -2.388 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 11 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P11 | 2002 | 1950 | Diwidy Comp. | 1 | K2 near freedom spot | 6.979 | -2.389 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 12 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P12 | 2002 | 1950 | Diwidy Comp. | 1 | Behind Asutifi Rural Bank kwaadaso K2 | 6.981 | -2.388 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 13 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P13 | 2002 | 1950 | Diwidy Comp. | 1 | Near True Church Adum K2 | 6.978 | -2.399 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 14 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P14 | 2002 | 1950 | Diwidy Comp. | 1 | opposite Mr.Nsiah's house | 6.984 | -2.389 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 15 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P15 | 2002 | 1950 | Diwidy Comp. | 1 | Opposite NDC Office | 6.982 | -2.387 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 16 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P16 | 2002 | 1950 | Diwidy Comp. | 1 | Near Daavi driking bar k1 | 6.973 | -2.379 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 17 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P17 | 2002 | 1950 | Diwidy Comp. | 1 | Beposo K1 near Mr. Peter's house | 6.967 | -2.384 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 18 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P18 | 2002 | 1950 | Diwidy Comp. | 1 | K1 close to Akosua Asor House | 6.969 | -2.38 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 19 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P19 | 2002 | 1950 | Diwidy Comp. | 1 | Habitat Near koo House | 6.977 | -2.375 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 20 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P20 | 2002 | 1950 | Diwidy Comp. | 1 | Near Nana Sahene house K1 | 6.971 | -2.384 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 1920 | 4800 | xxxx | 2027
[7 empty] | Standpipe 21 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P21 | 2014 | 4436 | Bawa Comp. | 1 | Behind Diamond city spot K1 | 6.972 | -2.382 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 25 | 22 | 1 | 4224 | 4800 | xxxx | 2039
[7 empty] | Standpipe 22 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P22 | 2014 | 4436 | Bawa Comp. | 1 | House No. NT45 | 6.973 | -2.381 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 25 | 22 | 1 | 4224 | 4800 | xxxx | 2039
[7 empty] | Standpipe 23 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P23 | 2014 | 4436 | Bawa Comp. | 1 | K1 close to Durba ground | 6.974 | -2.381 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 25 | 22 | 1 | 4224 | 4800 | xxxx | 2039
[7 empty] | Standpipe 24 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P24 | 2014 | 4436 | Bawa Comp. | 1 | K1 near Aboagyewaa chop bar | 6.975 | -2.381 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 25 | 22 | 1 | 4224 | 4800 | xxxx | 2039
[7 empty] | Standpipe 25 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P25 | 2014 | 4436 | Bawa Comp. | 1 | K1 Zongo near Yaakubu Chipsa' house | 6.973 | -2.377 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 25 | 22 | 1 | 4224 | 4800 | xxxx | 2039
[7 empty] | Standpipe 26 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P26 | 2014 | 4436 | Bawa Comp. | 1 | Near krontihene house K1 | 6.973 | -2.378 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 25 | 22 | 1 | 4224 | 4800 | xxxx | 2039
[7 empty] | Standpipe 27 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P27 | 2014 | 4436 | Bawa Comp. | 1 | Behind NPP office K1 | 6.976 | -2.38 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 25 | 22 | 1 | 4224 | 4800 | xxxx | 2039
[7 empty] | Standpipe 28 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P28 | 2014 | 4436 | Bawa Comp. | 1 | Near Chief's house K1 | 6.975 | -2.379 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 25 | 22 | 1 | 4224 | 4800 | xxxx | 2039
[7 empty] | Standpipe 29 | Point source | treated water | pvc pipe/ concrete | 2.5mx2.5m | WS/ANDA/P29 | 2014 | 4436 | Bawa Comp. | 1 | K2 Zongo Mosque | 6.979 | -2.385 | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 25 | 22 | 1 | 4224 | 4800 | xxxx | 2039
[7 empty] | Bulk Production Meter | XXX | xx | brass | 100mm dia. | WS/ANDA/BPM1 | 2002 | 240 | Diwidy Comp. | 1 | Behind Chief House AH | 6.975 | -2.379 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 10 | -5 | 1 | -280 | 560 | xxxx | 2012
[7 empty] | Bulk Distribution Meter 1 | XXX | xxx | brass | 100mm dia. | WS/ANDA/BDM1 | 2002 | 200 | Diwidy Comp. | 1 |  | 6.973 | -2.378 | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 10 | -5 | 1 | -245 | 490 | xxxx | 2012
[7 empty] | Bulk Distribution Meter 2 | XXX | xxx | brass | 100mm dia. | WS/ANDA/BDM2 | 2002 | 200 | Diwidy Comp. | 1 |  | xxxx | XXX | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 10 | -5 | 1 | -245 | 490 | xxxx | 2012
[7 empty] | Bulk Distribution Meter 3 |  |  | brass | 100mm dia. | WS/ANDA/BDM3 | 2014 | 600 | Bawa Comp. | 1 |  | xxxx | XXX | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 10 | 7 | 1 | 343 | 490 | xxxx | 2024
[7 empty] | Transmission Line 1 | XXX | xx | HDPE Pipe | 150mm dia. | WS/ANDA/TL1 | 2002 | 96588 | Diwidy Comp. | 1 |  | xxxx | XXX | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 40 | 25 | 1 | 128313.75 | 205302 | xxxx | 2042
[7 empty] | Transmission Line 2 |  | xx | uPVC pipe class C | 150mm dia. | WS/ANDA/TL2 | 2014 | 204302 | Bawa Comp. | 1 |  | xxxx | XXX | WSMT | DA | 2014 | 2017 | 3 |  | 1 | Yes | 1 | 25 | 22 | 1 | 180665.76 | 205302 | xxxx | 2039
[7 empty] | Distribution | XXX | xx | uPVC pipe class C | 100mm dia. | SW/ANDA/DL1 | 2002 | 48568 | Diwidy Comp. | 1 |  | xxxx | XXX | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 25 | 10 | 1 | 284321.2 | 710803 | xxxx | 2027
[7 empty] | Chlorinator | XXX | xx | Sanikit | XXX | SW/ANDA/CT1 | 2002 | 2000 | Diwidy Comp. | 1 |  | xxxx | XXX | WSMT | DA | 2014 | 2017 | 15 |  | 1 | Yes | 1 | 5 | -10 | 1 | -18000 | 9000 | xxxx | 2007
serial no.+A3A3:I5 | Name of System | System management |  |  | System Location | Water source | Key components | Description |  |  |  | Serial number | year Purchase/ Construction | Purchase Cost | Supplier | Prioritization/Importance | Location | GPS location |  | Service reponsibility | Other ownership | previous assessment year | current assessment year | Current age | Current Condition |  |  | functionality status | Design Life | Remaining | Usage status | Present value | current market value | previous rehabilitation year | next rehabilitation year | Photo
sn |  | Mgt option (Public or PPP) | Name of Contact person | Contact: mobile | (site/place/community/area) | (1=groundwater, 2=surface water) |  |  | Product | Type | Size | asset identified/unique ID |  |  |  | (0=not mandatory, 1=mandatory) | place | latitude | longitude | Who? |  |  |  | years | Description | Rating (0=poor, 1=good) | Critical (yes/no) | (0=nonfunctional, 1=functional) | Design life in years | RemainingLife in years | (1=in use, not used) |  |  |  |  | (if necessary)
Small Town 2 | Kenyasi No.2 Resttlement Piped System | Public | Rev.Joseph Adjei | 024-2714279 | Kenyasi No.2 Resttlement | 1 | Pumping station1 | Well/BH1 | Raw water | ground water | 55L/Sec | xxx | 2007 | 5600 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 | 6.994 | -2.306 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 30 | 30 | 1 | xxx | 9100 | xxx | xxxx
[8 empty] | Pump 1 |  | Submersible pump | 36Mᶾ/hr | xxx | 2007 | 2800 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 | 6.977 | -2.304 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 15 | 15 | 1 | xxx | 18000 | xxx | xxxx
[8 empty] | Control Panel 1 | Power | power ( 220-230 volts) | 3-phase | xxx | 2007 | 1700 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 | 6.887 | -2.432 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 15 | 15 | 1 | xxx | 6500 | xxx | xxxx
[8 empty] | pump house 1 | room | block structure | 9.5M² | xxx | 2007 | 9500 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 | 6.887 | -2.432 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 50 | 50 | 1 | xxx | 22500 | xxx | xxxx
[7 empty] | House structure | [10 empty] | 6.887 | -2.432 |  |  | New System | 2017 | 1 |  | 1
[7 empty] | Storage Tank 1 | Overhead tank |  | Steel | 90M3 | xxx | 2007 | 39563 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 | 6.887 | -2.432 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 50 | 50 | 1 | xxx | 195688 | xxx | xxxx
[7 empty] | Storage Tank 2 | Overhead tank |  | Concrete | 120M3 | xxxx | 2017 | xxxx | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 4 | 6.989 | -2.332 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 50 | 50 | 1 | xxx | 485665 | xxx | xxxx
[7 empty] | Standpipe 1 | xxx | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P1 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 1 near kofi spot | 6.993 | -2.402 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 50 | 50 | 1 | xxx | 4800 | xxx | xxxx
[7 empty] | Standpipe 2 | xxx | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P2 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 1 | 6.993 | -2.402 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 50 | 50 | 1 | xxx | 4800 | xxx | xxxx
[7 empty] | Standpipe 3 | xxx | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P3 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 1 | 6.993 | -2.402 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 50 | 50 | 1 | xxx | 4800 | xxx | xxxx
[7 empty] | Standpipe 4 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P4 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 1 | 6.993 | -2.402 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 5 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P5 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 1 | 6.995 | -2.398 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 6 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P6 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 1 | 6.995 | -2.398 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 7 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P7 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 1 | 6.995 | -2.398 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 8 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P8 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 1 | 6.995 | -2.398 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 9 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P9 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 1 | 6.995 | -2.398 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 10 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P10 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 1 | 6.995 | -2.398 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 11 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P11 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 1 | 6.995 | -2.398 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 12 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P12 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 Opposite Haruna Abu's House | 6.993 | -2.399 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 13 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P13 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 close to the reservoir | 6.991 | -2.405 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 14 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P14 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 |  |  | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 15 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P15 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 near palm garden spot | 6.993 | -2.401 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 16 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P16 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 opposite Assembly Man's House | 6.993 | -2.4 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 17 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P17 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 Gari Factory | 6.995 | -2.398 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 18 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P18 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 Aikins house | 6.992 | -2.4 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 19 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P19 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 Kofi Asare's house | 6.994 | -2.399 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 20 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P20 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 3 | 6.998 | -2.411 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 21 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P21 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 3 | 6.995 | -2.398 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 22 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P22 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 3 | 6.995 | -2.398 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 23 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P23 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 3 | 6.993 | -2.399 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 24 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P24 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 3 | 6.993 | -2.399 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 25 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P25 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 4 Near Asse.of God Church | 6.998 | -2.411 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 26 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P26 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 4 near reservoir tank | 6.998 | -2.409 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 27 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P27 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 4 | 6.998 | -2.409 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 28 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P28 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 4 first Lane | 6.997 | -2.407 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Standpipe 29 |  | treated water | Concrete/ pvc pipe | 2.5mx2.5m | SW/ANDA/P29 | 2007 | 1650 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 4 near transformer | 6.998 | -2.402 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 4800 | xxx | xxxx
[7 empty] | Bulk Production Meter | xxx | Readings/recording | Brass | xxx | SW/ANDA/BPM1 | 2007 | 260 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 | 6.997 | -2.409 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 10 | 10 | 1 | xxx | 650 | xxx | xxxx
[7 empty] | Bulk Distribution Meter 1 | xxx | Record Volume of water pumped | Brass | xxx | SW/ANDA/BDM1 | 2007 | 260 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 | 6.998 | -2.33 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 10 | 10 | 1 | xxx | 480 | xxx | xxxx
[7 empty] | Bulk Distribution Meter 2 | xxx | Record Volume of water pumped | Brass | xxx | SW/ANDA/BDM2 | 2007 | 350 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 | 6.977 | -2.337 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 10 | 10 | 1 | xxx | 480 | xxx | xxxx
[7 empty] | Transmission |  |  | uPVC pipe class C | 100mm dia. | SW/ANDA/TL1 | 2007 | 22989 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 | 6.998 | -2.334 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 40 | 40 | 1 |  | 205302 | xxx | xxxx
[7 empty] | Distribution |  |  | uPVC pipe class C | 150mm dia, | SW/ANDA/DL1 | 2007 | 12963 | Bawa Comp. | 1 | Kenyasi No. 2 Resettlement Phase 2 | 6.996 | -2.407 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 25 | 25 | 1 |  | 710803 | xxx | xxxx
[7 empty] | Chlorinator |  |  | Sanikit |  | SW/ANDA/CT1 | 2007 | 1850 | Bawa Comp. | 1 | Kenyasi No.2 Resettlement Phase 4 | 6.998 | -2.435 | WSMT | DA | New System | 2017 | 1 |  | 1 | yes | 1 | 5 | 5 | 1 |  | 9000 | xxx | xxxx
serial no.+A3A3:I5 | Name of System | System management |  |  | System Location | Water source | Key components | Description |  |  |  | Serial number | year Purchase/ Construction | Purchase Cost | Supplier | Prioritization/Importance | Location | GPS location |  | Service reponsibility | Other ownership | previous assessment year | current assessment year | Current age | Current Condition |  |  | functionality status | Design Life | Remaining | Usage status | Present value | current market value | previous rehabilitation year | next rehabilitation year | Photo
sn |  | Mgt option (Public or PPP) | Name of Contact person | Contact: mobile | (site/place/community/area) | (1=groundwater, 2=surface water) |  |  | Product | Type | Size | asset identified/unique ID |  |  |  | (0=not mandatory, 1=mandatory) | place | latitude | longitude | Who? |  |  |  | years | Description | Rating (0=poor, 1=good) | Critical (yes/no) | (0=nonfunctional, 1=functional) | Design life in years | RemainingLife in years | (1=in use, not used) |  |  |  |  | (if necessary)
Small Town 3 | Ntotroso Resttlement piped system | Public | Azumah Wale | 024-8658478 | Ntotroso Resttlement | 1 | Pumping station1 | Well/BH1 | raw water | Ground water | 65L/sec | WS/ANDA/W1 | 2007 | 5600 | OIC LTD | 1 | Ntotroso Resttlement, behind Vodafone mask | 7.055 | -2.333 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 30 | 20 | 1 | 6066.6667 | 9100 | XXX | xxxx
[8 empty] | Pump 1 |  | Submisible pump | 8.7Mᶾ/hr | WS/ANDA/SP1 | 2007 | 2800 | OIC LTD | 1 | Ntotroso Resttlement, behind Vodafone mask | 7.055 | -2.333 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 15 | 5 | 1 | 2893.3333 | 8680 | XXX | xxxx
[8 empty] | Control Panel 1 | Electric | power ( 220-230 volts) | 3-phase | WS/ANDA/SP2 | 2007 | 1700 | OIC LTD | 1 | Ntotroso Resttlement, behind Vodafone mask | 7.055 | -2.333 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 15 | 5 | 1 | 793.3333 | 2380 | XXX | xxxx
[8 empty] | pump house 1 | Room | Concrete /Block | 9.5M² | WS/ANDA/SP3 | 2007 | 9500 | OIC LTD | 1 | Ntotroso Resttlement, behind Vodafone mask | 7.055 | -2.333 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 50 | 40 | 1 | 13959.68 | 17449.6 | XXX | xxxx
[32 empty] | #DIV/0! |  | XXX | xxxx
[6 empty] | 1 | Pumping station2 | Well/BH2 | raw water | Ground water | 60L/Sec | WS/ANDA/W2 | 2007 | 5600 | OIC LTD | 1 | Behind Ntotroso Nursing Training College | 7.052 | -2.331 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 30 | 20 | 1 | 6066.6667 | 9100 | XXX | xxxx
[8 empty] | Pump 2 | xxx | Submisible pump | 8.7Mᶾ/hr | WS/ANDA/SP2 | 2007 | 2800 | OIC LTD | 1 | Behind Ntotroso Nursing Training College | 7.052 | -2.331 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 15 | 5 | 1 | 2893.3333 | 8680 | XXX | xxxx
[8 empty] | Control Panel 2 | Electric | power ( 220-230 volts) | 3-phase | WS/ANDA/CP2 | 2007 | 1200 | OIC LTD | 1 | Behind Ntotroso Nursing Training College | 7.052 | -2.331 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 5 | -5 | 1 | -2380 | 2380 | XXX | xxxx
[8 empty] | pump house 2 | Room | Concrete /Block | 9.5M² | WS/ANDA/PH2 | 2007 | 9500 | OIC LTD | 1 | Behind Ntotroso Nursing Training College | 7.052 | -2.331 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 30 | 20 | 1 | 11633.0667 | 17449.6 | XXX | xxxx
[7 empty] | House structure | [14 empty] | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 15 | 5 | 1 | 2893.3333 | 8680 | XXX | xxxx
[7 empty] | Storage Tank | Overhead | Water Storage | Steel | 50Mᶾ | SW/ANDA/ST1 | 2007 | 39563 | OIC LTD | 1 | Ntotroso Resttlement, behind Vodafone mask | 7.055 | -2.333 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 50 | 40 | 1 | 13959.68 | 17449.6 | XXX | xxxx
[7 empty] | Standpipe 1 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P1 | 2007 | 1650 | OIC LTD | 1 | Near NADeF Office | 7.059 | -2.322 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 2 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P2 | 2007 | 1650 | OIC LTD | 1 | Infront of Twon Water Board | 7.06 | -2.323 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 3 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P3 | 2007 | 1650 | OIC LTD | 1 | Near Gari factory | 7.061 | -2.323 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 4 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P4 | 2007 | 1650 | OIC LTD | 1 | Resettlement Market | 7.06 | -2.325 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 5 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P5 | 2007 | 1650 | OIC LTD | 1 | Near Vodafone Mask | 7.058 | -2.328 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 6 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P6 | 2007 | 1650 | OIC LTD | 1 | Infront of Airtel Mask | 7.056 | -2.328 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 7 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P7 | 2007 | 1650 | OIC LTD | 1 | Opposite Resettlement Water Board | 7.056 | -2.327 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 8 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P8 | 2007 | 1650 | OIC LTD | 1 | Behind Resettlement Water Board | 7.056 | -2.327 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 9 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P9 | 2007 | 1650 | OIC LTD | 1 | Phase 1 near Vodafone Mask | 7.06 | -2.327 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 10 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P10 | 2007 | 1650 | OIC LTD | 1 | Near Nursing Training College | 7.054 | -2.327 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 11 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P11 | 2007 | 1650 | OIC LTD | 1 | Near R/C School | 7.058 | -2.323 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 12 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P12 | 2007 | 1650 | OIC LTD | 1 | AGST Vodafone | 7.059 | -2.327 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 13 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P13 | 2007 | 1650 | OIC LTD | 1 | Eantry Phase 3 | 7.061 | -2.325 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 14 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P14 | 2007 | 1650 | OIC LTD | 1 | Near Zongo | 7.062 | -2.324 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 15 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P15 | 2007 | 1650 | OIC LTD | 1 | Behind Islamic School | 7.063 | -2.325 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Standpipe 16 |  | Treated water | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P16 | 2007 | 1650 | OIC LTD | 1 | Phase 3 | 7.061 | -2.325 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 2880 | 4800 | XXX | xxxx
[7 empty] | Bulk Production Meter 1 |  | Record Volume of water pumped | brass | 100mm dia. | SW/ANDA/BPM1 | 2007 | 260 | OIC LTD | 1 | Behind Ntotroso Nursing Training College | 7.052 | -2.331 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 10 | 0 | 1 | 0 | 560 | XXX | xxxx
[7 empty] | Bulk Production Meter 2 |  | Record Volume of water pumped | brass | 100mm dia. | SW/ANDA/BPM2 | 2007 | 260 | OIC LTD | 1 | Ntotroso Resttlement, behind Vodafone mask | 7.055 | -2.333 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 10 | 0 | 1 | 0 | 560 | XXX | xxxx
[7 empty] | Bulk Distribution Meter 1 |  | Record Volume of water pumped | brass | 100mm dia. | SW/ANDA/BDM1 | 2007 | 230 | OIC LTD | 1 | Ntotroso Resttlement, behind Vodafone mask | 7.059 | -2.322 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 193.2 | 322 | XXX | xxxx
[7 empty] | Transmission |  | xxx | uPVC pipe class C | 100mm dia. | SW/ANDA/TL1 | 2007 | 22989 | OIC LTD | 1 |  |  |  | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 40 | 30 | 1 | 24138.45 | 32184.6 | XXX | xxxx
[7 empty] | Distribution |  | xxx | uPVC pipe class C | 150mm dia. | SW/ANDA/DL1 | 2007 | 12963 | OIC LTD | 1 |  |  |  | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 25 | 15 | 1 | 10888.92 | 18148.2 | XXX | xxxx
[7 empty] | Chlorinator |  | xxx | Sanikit | xxx | SW/ANDA/CT1 | 2007 | 1850 | OIC LTD | 1 | Ntotroso Resttlement, behind Vodafone mask | 7.059 | -2.325 | WSMT | DA | 2014 | 2017 | 10 |  | 1 | Yes | 1 | 10 | 0 | 1 | 0 | 2590 | XXX | xxxx
serial no.+A3A3:I5 | Name of System | System management |  |  | System Location | Water source | Key components | Description |  |  |  | Serial number | year Purchase/ Construction | Purchase Cost | Supplier | Prioritization/Importance | Location | GPS location |  | Service reponsibility | Other ownership | previous assessment year | current assessment year | Current age | Current Condition |  |  | functionality status | Design Life | Remaining | Usage status | Present value | current market value | previous rehabilitation year | next rehabilitation year | Photo
sn |  | Mgt option (Public or PPP) | Name of Contact person | Contact: mobile | (site/place/community/area) | (1=groundwater, 2=surface water) |  |  | Product | Type | Size | asset identified/unique ID |  |  |  | (0=not mandatory, 1=mandatory) | place | latitude | longitude | Who? |  |  |  | years | Description | Rating (0=poor, 1=good) | Critical (yes/no) | (0=nonfunctional, 1=functional) | Design life in years | RemainingLife in years | (1=in use, not used) |  |  |  |  | (if necessary)
Small Town 4 | Ntotroso Small Town Piped System | Public | Macheal Gyewornu | 024-3702641 | Ntotroso | 1 | Pumping station1 | Well/BH1 | Raw Water | Ground water | 65L/Sec | SW/ANDA/BH1 | 2012 | 6500 | BEDA CONST.ENG.LTD | 1 | Ntotroso R/C Church | 7.06 | -2.327 | WSMT | DA | 2014 | 2017 | 5 | 1 |  | Yes | 1 | 30 | 25 | 1 | 5416.6667 | 9100 | xxx | 2042
[8 empty] | Pump 1 | xxxx | Submisible pump | 9.21mᶾ/hr | SW/ANDA/SP1 | 2012 | 6200 | BEDA CONST.ENG.LTD | 1 | Ntotroso R/C Church | 7.058 | -2.327 | WSMT | DA | 2014 | 2017 | 5 | 1 |  | Yes | 1 | 15 | 10 | 1 | 4133.3333 | 8680 | xxx | 2027
[8 empty] | Control Panel 1 | Electric | power ( 220-230 volts) | 3-phase | SW/ANDA/CP1 | 2012 | 1700 | BEDA CONST.ENG.LTD | 1 | Ntotroso R/C Church | 7.056 | -2.327 | WSMT | DA | 2014 | 2017 | 5 | 1 |  | Yes | 1 | 5 | 0 | 1 | 0 | 2380 | xxx | 2017
[8 empty] | pump house 1 | Room | Concrete /Block | 9.5M² | SW/ANDA/PH1 | 2012 | 12464 | BEDA CONST.ENG.LTD | 1 | Ntotroso R/C Church | 7.056 | -2.327 | WSMT | DA | 2014 | 2017 | 5 | 1 |  | Yes | 1 | 50 | 45 | 1 | 11217.6 | 17449.6 | xxx | 2062
[7 empty] | Pumping station 2 | Well/BH 2 | Raw Water | Ground water | 65L/Sec | SW/ANDA/BH2 | 2012 | 6500 | BEDA CONST.ENG.LTD | 1 | Ntotroso R/C Church | 7.056 | -2.323 | WSMT | DA | 2014 | 2017 | 5 | 1 |  | Yes | 1 | 30 | 25 | 1 | 5416.6667 | 9100 | xxx | 2042
[8 empty] | Pump 2 | xxx | Submisible pump | 9.21mᶾ/hr | SW/ANDA/SP2 | 2012 | 6200 | BEDA CONST.ENG.LTD | 1 | Ntotroso R/C Church | 7.06 | -2.327 | WSMT | DA | 2014 | 2017 | 5 | 1 |  | Yes | 1 | 15 | 10 | 1 | 4133.3333 | 8680 | xxx | 2027
[8 empty] | Control Panel 2 | Electric | power ( 220-230 volts) | 3-phase | SW/ANDA/CP2 | 2012 | 1700 | BEDA CONST.ENG.LTD | 1 | Ntotroso R/C Church | 7.054 | -2.325 | WSMT | DA | 2014 | 2017 | 5 | 1 |  | Yes | 1 | 5 | 0 | 1 | 0 | 2380 | xxx | 2017
[8 empty] | pump house 2 | Room | Concrete Block | 9.5M² | SW/ANDA/PH2 | 2012 | 12464 | BEDA CONST.ENG.LTD | 1 | Ntotroso R/C Church | 7.058 | -2.324 | WSMT | DA | 2014 | 2017 | 5 | 1 |  | Yes | 1 | 50 | 45 | 1 | 11217.6 | 17449.6 | xxx | 2062
[7 empty] | Pumping station 3 | Well/BH 3 | Raw Water | Ground water | 60L/Sec. | SW/ANDA/BH3 | 2012 | 6500 | BEDA CONST.ENG.LTD | 1 | Behind NADeF Office | 7.069 | -2.322 | WSMT | DA | 2014 | 2017 | 5 | 1 |  | Yes | 1 | 30 | 25 | 1 | 5416.6667 | 9100 | xxx | 2042
[8 empty] | Pump 3 | xx | Submisible pump | 6.86mᶾ/hr | SW/ANDA/SP3 | 2012 | 6200 | BEDA CONST.ENG.LTD | 1 | Behind NADeF Office | 7.069 | -2.322 | WSMT | DA | 2014 | 2017 | 5 | 1 |  | Yes | 1 | 15 | 10 | 1 | 4133.3333 | 8680 | xxx | 2027
[8 empty] | Control Panel 3 | Electric | power ( 220-230 volts) | 3-phase | SW/ANDA/CP3 | 2012 | 1700 | BEDA CONST.ENG.LTD | 1 | Behind NADeF Office | 7.069 | -2.322 | WSMT | DA | 2014 | 2017 | 5 | 1 |  | Yes | 1 | 5 | 0 | 1 | 0 | 2380 | xxx | 2017
[8 empty] | pump house 3 | Room | Concrete Block | 9.5M² | SW/ANDAA/PH3 | 2012 | 12464 | BEDA CONST.ENG.LTD | 1 | Behind NADeF Office | 7.069 | -2.322 | WSMT | DA | 2014 | 2017 | 5 | 1 |  | Yes | 1 | 50 | 45 | 1 | 11217.6 | 17449.6 | xxx | 2062
[7 empty] | House Structure | [26 empty] | xxx
[7 empty] | Storage Tank | Overhead |  | Concrete | 100Mᶾ | SW/ANDA/ST1 | 2012 | 131874 | BEDA CONST.ENG.LTD | 1 | Ntotroso | 7.061 | -2.319 | WSMT | DA | 2014 | 2017 | 5 | 1 |  | Yes | 1 | 50 | 45 | 1 | 288778.5 | 320865 | xxx | 2062
[7 empty] | Standpipe 1 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P1 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Ntotroso | 7.061 | -2.319 | WSMT | DA | 2014 | 2017 | 5 |  | 1 | Yes | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 2 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P2 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Gyedu Health centre | 7.068 | -2.324 | WSMT | DA | 2014 | 2017 | 5 |  | 1 | Yes | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 3 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P3 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Gyedu D/A Primary & JHS | 7.067 | -2.323 | WSMT | DA | 2014 | 2017 | 5 |  | 1 | Yes | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 4 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P4 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Behind Gyedu town park | 7.069 | -2.322 | WSMT | DA | 2014 | 2017 | 5 |  | 1 | Yes | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 5 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P5 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Behind Markert ( Akentenmu) | 7.063 | -2.32 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 6 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P6 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Alexiboam unction | 7.057 | -2.322 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 7 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P7 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Behind grace Church | 7.061 | -2.319 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 8 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P8 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Opposite Royal Cemetory ( Apentuasi) | 7.062 | -2.319 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 9 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P9 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Near K.B. saw-Mill | 7.06 | -2.317 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 10 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P10 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Methodist School | 7.063 | -2.317 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 11 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P11 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Opposite Mr. Kofi Musah's House | 7.066 | -2.315 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 12 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P12 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | R/C JHS | 7.07 | -2.319 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 13 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P13 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Near Presby Church | 7.067 | -2.318 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 14 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P14 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Behind Area council Block | 7.065 | -2.319 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 15 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P15 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | OIC Vocational training centre | 7.071 | -2.328 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 16 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P16 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Near Community Centre | 7.065 | -2.322 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 17 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P17 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Near Durbar ground | 7.066 | -2.323 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 18 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P18 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Savior Church Mission | 7.063 | -2.321 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 19 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P19 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Opposite Health Centtre | 7.068 | -2.326 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 20 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P20 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Near Deeperlife church | 7.066 | -2321 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 21 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P21 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Opposite Chief Palace | 7.064 | -2.318 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 22 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P22 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | Near to the New Palace | 7.064 | -2.313 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Standpipe 23 |  |  | Concrete / pvc pipe | 2.5mx2.5m | SW/ANDA/P23 | 2012 | 2564 | BEDA CONST.ENG.LTD | 1 | (Akyeasi) Near Nana Owusu Storey Building | 7.067 | -2.318 | WSMT | DA | 2014 | 2017 | 5 |  |  |  | 1 | 25 | 20 | 1 | 2051.2 | 4800 | xxx | 2037
[7 empty] | Bulk Production Meter 1 |  |  | brass | 100mm dia. | SW/ANDA/BPM1 | 2012 | 400 | BEDA CONST.ENG.LTD | 1 | Ntotroso | 7.067 | -2.318 | WSMT | DA | 2014 | 2017 | 5 |  | 1 | Yes | 1 | 10 | 5 | 1 | 200 | 560 | xxx | 2022
[7 empty] | Bulk Production Meter 2 |  |  | brass | 100mm dia. | SW/ANDA/BPM2 | 2012 | 400 | BEDA CONST.ENG.LTD | 1 | Ntotroso | 7.067 | -2.318 | WSMT | DA | 2014 | 2017 | 5 |  | 1 | Yes | 1 | 10 | 5 | 1 | 200 | 560 | xxx | 2022
[7 empty] | Bulk Production Meter 3 |  |  | brass | 100mm dia. | SW/ANDA/BPM3 | 2012 | 400 | BEDA CONST.ENG.LTD | 1 | Ntotroso | 7.067 | -2.318 | WSMT | DA | 2014 | 2017 | 5 |  | 1 | Yes | 1 | 10 | 5 | 1 | 200 | 560 | xxx | 2022
[7 empty] | Bulk Distribution Meter 1 |  |  | brass | 100mm dia. | SW/ANDA/BDM1 | 2012 | 350 | BEDA CONST.ENG.LTD | 1 | Ntotroso | 7.064 | -2.318 | WSMT | DA | 2014 | 2017 | 5 |  | 1 | Yes | 1 | 10 | 5 | 1 | 175 | 490 | xxx | 2022
[7 empty] | Transmission |  |  | uPVC pipe class C | 100mm dia. | SW/ANDA/ TL1 | 2012 | 66630 | BEDA CONST.ENG.LTD | 1 | Ntotroso | 7.064 | -2.318 | WSMT | DA | 2014 | 2017 | 5 |  | 1 | Yes | 1 | 40 | 35 | 1 | 58301.25 | 93282 | xxx | 2052
[7 empty] | Distribution |  |  | uPVC pipe class C | 150mm dia. | SW/ANDA/DL1 | 2012 | 259366 | BEDA CONST.ENG.LTD | 1 | Ntotroso | 7.064 | -2.318 | WSMT | DA | 2014 | 2017 | 5 |  | 1 | Yes | 1 | 25 | 20 | 1 | 207492.8 | 363112.4 | xxx | 2037
[7 empty] | Chlorinator | xxx | xx | Sanikit | xxx | SW/ANDA/CT1 | 2012 | 2500 | BEDA CONST.ENG.LTD | 1 | Ntotroso | 7.064 | -2.318 | WSMT | DA | 2014 | 2017 | 5 |  | 1 | Yes | 1 | 10 | 5 | 1 | 1250 | 3500 | xxx | 2022